## Instructions
CalProof — Calibration Schedule Template
What this template is for
Use this spreadsheet to track calibration schedules for all your measuring instruments and test equipment. It helps you meet the requirements of ISO 9001:2015 Clause 7.1.5 (Monitoring and Measuring Resources) and ISO 17025 where applicable.
How to use it
1. | Go to the 'Calibration Schedule' tab.
2. | Replace the example data (row 4 is marked as an example) with your own instruments.
3. | Enter the last calibration date and calibration interval for each instrument.
4. | The 'Next Due' column auto-calculates based on last calibration + interval.
5. | The 'Status' column shows whether each instrument is Current, Due Soon (within 30 days), or Overdue.
6. | Sort by 'Next Due' to see which instruments need attention first.
7. | Update the 'Last Calibrated' date each time an instrument is calibrated.
Column guide
Asset ID: Your internal asset/equipment number (e.g. CAL-001, DMM-003)
Instrument: Name/description of the instrument
Manufacturer/Model: Make and model number
Serial Number: Manufacturer's serial number
Location: Where the instrument is normally kept/used
Calibration Interval: Months between calibrations (dropdown: 3, 6, 12, 24)
Last Calibrated: Date of most recent calibration
Next Due: Auto-calculated (Last Calibrated + Interval)
Status: Auto-calculated (Current / Due Soon / Overdue)
Certificate Ref: Reference number from the calibration certificate
Calibrated By: Name of calibration provider (in-house or external lab)
Notes: Any additional notes (restrictions, conditions, adjustments made)
Calibration interval guidance
The right interval depends on equipment type, usage, criticality, and history:
3 months — high-criticality or heavily-used instruments (production gauges)
6 months — standard-criticality instruments (calipers, micrometers in regular use)
12 months — low-criticality or lightly-used instruments (reference standards, backup gauges)
24 months — very low-use reference items
If an instrument is found out of tolerance at calibration, shorten the interval.
If it has a consistent in-tolerance history, you may justify extending the interval.
Document the rationale for any interval changes — auditors will ask.
About CalProof
This template helps you manage calibration schedules manually. CalProof automates the entire workflow — automated reminders, certificate storage, out-of-tolerance tracking, and audit-ready reporting. Join the waitlist at calproof.co.uk
Generated: 21 March 2026 | Free download from calproof.co.uk

## Calibration Schedule
Calibration Schedule
Organisation: | Your Company Name |  |  | Last reviewed: | 2026-03-21
Asset ID | Instrument | Manufacturer / Model | Serial Number | Location | Interval (months) | Last Calibrated | Next Due | Status | Certificate Ref | Calibrated By | Notes
CAL-001 | Digital Caliper | Mitutoyo 500-196-30 | S/N 18420156 | QC Lab - Bench 1 | 12 | 2025-09-22 |  |  | CC-2025-0842 | UKAS Lab — Trescal UK | EXAMPLE — replace with your data
CAL-002 | Micrometer 0-25mm | Mitutoyo 293-240-30 | S/N 19330421 | QC Lab - Bench 1 | 12 | 2025-05-25 |  |  | CC-2025-0843 | UKAS Lab — Trescal UK
CAL-003 | Pressure Gauge 0-10 bar | Wika 111.10 | S/N 2207-8841 | Production Line 2 | 6 | 2025-11-21 |  |  | CC-2025-1201 | In-house | Master gauge ref: CAL-REF-003
CAL-004 | Torque Wrench 5-25 Nm | Norbar 13002 | S/N NB-44201 | Assembly Area | 6 | 2025-09-02 |  |  | CC-2025-0401 | Norbar Calibration Services | Last adjustment: +0.3%
CAL-005 | Temperature Probe | Fluke 51 II | S/N 29840012 | Incoming Inspection | 12 | 2026-01-20 |  |  | CC-2025-1502 | UKAS Lab — Trescal UK
Summary
Total instruments:
Overdue:
Due soon:
Current:
Formulas:
Status = IF([Next Due]="","",IF([Next Due]<TODAY(),"OVERDUE",IF([Next Due]<TODAY()+30,"DUE SOON","CURRENT")))